## Transmission
|  | Wavelength (nm) | % Transmission
|  | 1150 | 5.7972
|  | 1149 | 5.7808
|  | 1148 | 5.7656
|  | 1147 | 5.7436
Product Raw Data |  | 1146 | 5.7291
Ø1/2" Neutral Density Filter, AR Coated: 650 - 1050 nm, OD: 2.0 |  | 1145 | 5.7124
|  | 1144 | 5.7043
Item # | NE520B-B | 1143 | 5.689
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1142 | 5.6783
|  | 1141 | 5.6687
|  | 1140 | 5.6643
|  | 1139 | 5.6498
|  | 1138 | 5.64
|  | 1137 | 5.6283
|  | 1136 | 5.5947
Additional Information: |  | 1135 | 5.6025
Measurements Made at Normal Incidence |  | 1134 | 5.5886
|  | 1133 | 5.5606
|  | 1132 | 5.5328
|  | 1131 | 5.5178
|  | 1130 | 5.5423
|  | 1129 | 5.5559
|  | 1128 | 5.5609
|  | 1127 | 5.5516
|  | 1126 | 5.5061
|  | 1125 | 5.5006
|  | 1124 | 5.4987
|  | 1123 | 5.4912
|  | 1122 | 5.4899
|  | 1121 | 5.457
|  | 1120 | 5.4435
|  | 1119 | 5.4325
|  | 1118 | 5.4309
|  | 1117 | 5.425
|  | 1116 | 5.4217
|  | 1115 | 5.4211
|  | 1114 | 5.4106
|  | 1113 | 5.4037
|  | 1112 | 5.4029
|  | 1111 | 5.3978
|  | 1110 | 5.3948
|  | 1109 | 5.3915
|  | 1108 | 5.38
|  | 1107 | 5.376
|  | 1106 | 5.3727
|  | 1105 | 5.369
|  | 1104 | 5.3683
|  | 1103 | 5.3635
|  | 1102 | 5.356
|  | 1101 | 5.351
|  | 1100 | 5.3216
|  | 1099 | 5.3093
|  | 1098 | 5.3054
|  | 1097 | 5.3069
|  | 1096 | 5.3084
|  | 1095 | 5.3121
|  | 1094 | 5.3076
|  | 1093 | 5.297
|  | 1092 | 5.2776
|  | 1091 | 5.2722
|  | 1090 | 5.2684
|  | 1089 | 5.2667
|  | 1088 | 5.2697
|  | 1087 | 5.2706
|  | 1086 | 5.2714
|  | 1085 | 5.261
|  | 1084 | 5.2378
|  | 1083 | 5.2303
|  | 1082 | 5.2339
|  | 1081 | 5.2323
|  | 1080 | 5.235
|  | 1079 | 5.2393
|  | 1078 | 5.2367
|  | 1077 | 5.2233
|  | 1076 | 5.1954
|  | 1075 | 5.1937
|  | 1074 | 5.1973
|  | 1073 | 5.2005
|  | 1072 | 5.2023
|  | 1071 | 5.2037
|  | 1070 | 5.2012
|  | 1069 | 5.2009
|  | 1068 | 5.1957
|  | 1067 | 5.1848
|  | 1066 | 5.1621
|  | 1065 | 5.1564
|  | 1064 | 5.1602
|  | 1063 | 5.1623
|  | 1062 | 5.1661
|  | 1061 | 5.1683
|  | 1060 | 5.1733
|  | 1059 | 5.1741
|  | 1058 | 5.1746
|  | 1057 | 5.1646
|  | 1056 | 5.1434
|  | 1055 | 5.141
|  | 1054 | 5.1416
|  | 1053 | 5.1453
|  | 1052 | 5.1535
|  | 1051 | 5.1556
|  | 1050 | 5.147
|  | 1049 | 5.1272
|  | 1048 | 5.1267
|  | 1047 | 5.1325
|  | 1046 | 5.1382
|  | 1045 | 5.1405
|  | 1044 | 5.1418
|  | 1043 | 5.1335
|  | 1042 | 5.115
|  | 1041 | 5.1141
|  | 1040 | 5.1229
|  | 1039 | 5.1283
|  | 1038 | 5.1333
|  | 1037 | 5.1358
|  | 1036 | 5.1305
|  | 1035 | 5.1125
|  | 1034 | 5.1106
|  | 1033 | 5.1175
|  | 1032 | 5.1224
|  | 1031 | 5.1267
|  | 1030 | 5.1249
|  | 1029 | 5.1105
|  | 1028 | 5.1093
|  | 1027 | 5.1131
|  | 1026 | 5.1203
|  | 1025 | 5.1279
|  | 1024 | 5.1242
|  | 1023 | 5.111
|  | 1022 | 5.1123
|  | 1021 | 5.1191
|  | 1020 | 5.1227
|  | 1019 | 5.1257
|  | 1018 | 5.1322
|  | 1017 | 5.1281
|  | 1016 | 5.1117
|  | 1015 | 5.1177
|  | 1014 | 5.1255
|  | 1013 | 5.1312
|  | 1012 | 5.1361
|  | 1011 | 5.1319
|  | 1010 | 5.1203
|  | 1009 | 5.1227
|  | 1008 | 5.1276
|  | 1007 | 5.1373
|  | 1006 | 5.1355
|  | 1005 | 5.1234
|  | 1004 | 5.1293
|  | 1003 | 5.1395
|  | 1002 | 5.1502
|  | 1001 | 5.145
|  | 1000 | 5.1343
|  | 999 | 5.1391
|  | 998 | 5.1481
|  | 997 | 5.1561
|  | 996 | 5.1524
|  | 995 | 5.1427
|  | 994 | 5.1485
|  | 993 | 5.1621
|  | 992 | 5.1708
|  | 991 | 5.1646
|  | 990 | 5.1569
|  | 989 | 5.1632
|  | 988 | 5.1753
|  | 987 | 5.1739
|  | 986 | 5.1673
|  | 985 | 5.1725
|  | 984 | 5.181
|  | 983 | 5.1794
|  | 982 | 5.1731
|  | 981 | 5.1816
|  | 980 | 5.1945
|  | 979 | 5.2084
|  | 978 | 5.2092
|  | 977 | 5.2009
|  | 976 | 5.2075
|  | 975 | 5.2077
|  | 974 | 5.203
|  | 973 | 5.212
|  | 972 | 5.2259
|  | 971 | 5.2275
|  | 970 | 5.2232
|  | 969 | 5.219
|  | 968 | 5.2164
|  | 967 | 5.2287
|  | 966 | 5.2519
|  | 965 | 5.256
|  | 964 | 5.2487
|  | 963 | 5.2587
|  | 962 | 5.2586
|  | 961 | 5.2565
|  | 960 | 5.27
|  | 959 | 5.2771
|  | 958 | 5.2638
|  | 957 | 5.2603
|  | 956 | 5.2778
|  | 955 | 5.2966
|  | 954 | 5.3023
|  | 953 | 5.3036
|  | 952 | 5.3078
|  | 951 | 5.314
|  | 950 | 5.3167
|  | 949 | 5.3193
|  | 948 | 5.3181
|  | 947 | 5.3223
|  | 946 | 5.3399
|  | 945 | 5.3487
|  | 944 | 5.3554
|  | 943 | 5.3538
|  | 942 | 5.3553
|  | 941 | 5.3555
|  | 940 | 5.3632
|  | 939 | 5.3866
|  | 938 | 5.3949
|  | 937 | 5.3904
|  | 936 | 5.396
|  | 935 | 5.3978
|  | 934 | 5.389
|  | 933 | 5.3954
|  | 932 | 5.4163
|  | 931 | 5.4366
|  | 930 | 5.4417
|  | 929 | 5.4291
|  | 928 | 5.4274
|  | 927 | 5.4494
|  | 926 | 5.4631
|  | 925 | 5.4612
|  | 924 | 5.4692
|  | 923 | 5.4769
|  | 922 | 5.4891
|  | 921 | 5.4964
|  | 920 | 5.4893
|  | 919 | 5.5007
|  | 918 | 5.5134
|  | 917 | 5.5136
|  | 916 | 5.5237
|  | 915 | 5.5324
|  | 914 | 5.5319
|  | 913 | 5.5478
|  | 912 | 5.5621
|  | 911 | 5.5666
|  | 910 | 5.5642
|  | 909 | 5.578
|  | 908 | 5.591
|  | 907 | 5.5899
|  | 906 | 5.5884
|  | 905 | 5.5926
|  | 904 | 5.6011
|  | 903 | 5.6178
|  | 902 | 5.6338
|  | 901 | 5.6345
|  | 900 | 5.6329
|  | 899 | 5.636
|  | 898 | 5.6535
|  | 897 | 5.6734
|  | 896 | 5.6755
|  | 895 | 5.6704
|  | 894 | 5.6832
|  | 893 | 5.6912
|  | 892 | 5.6912
|  | 891 | 5.6941
|  | 890 | 5.7159
|  | 889 | 5.7407
|  | 888 | 5.7443
|  | 887 | 5.7349
|  | 886 | 5.7293
|  | 885 | 5.7339
|  | 884 | 5.7407
|  | 883 | 5.7619
|  | 882 | 5.7819
|  | 881 | 5.787
|  | 880 | 5.7743
|  | 879 | 5.7674
|  | 878 | 5.77
|  | 877 | 5.7761
|  | 876 | 5.7985
|  | 875 | 5.8178
|  | 874 | 5.8116
|  | 873 | 5.8015
|  | 872 | 5.7992
|  | 871 | 5.8069
|  | 870 | 5.8127
|  | 869 | 5.8165
|  | 868 | 5.8139
|  | 867 | 5.8288
|  | 866 | 5.8436
|  | 865 | 5.8424
|  | 864 | 5.842
|  | 863 | 5.8375
|  | 862 | 5.8347
|  | 861 | 5.8346
|  | 860 | 5.7993
|  | 859 | 5.8161
|  | 858 | 5.8282
|  | 857 | 5.8338
|  | 856 | 5.8301
|  | 855 | 5.8264
|  | 854 | 5.831
|  | 853 | 5.8382
|  | 852 | 5.8509
|  | 851 | 5.848
|  | 850 | 5.8414
|  | 849 | 5.8354
|  | 848 | 5.8452
|  | 847 | 5.8341
|  | 846 | 5.8512
|  | 845 | 5.8405
|  | 844 | 5.8375
|  | 843 | 5.8412
|  | 842 | 5.8304
|  | 841 | 5.8415
|  | 840 | 5.8392
|  | 839 | 5.838
|  | 838 | 5.8366
|  | 837 | 5.8351
|  | 836 | 5.8354
|  | 835 | 5.8296
|  | 834 | 5.8345
|  | 833 | 5.8369
|  | 832 | 5.8345
|  | 831 | 5.83
|  | 830 | 5.8228
|  | 829 | 5.8181
|  | 828 | 5.825
|  | 827 | 5.823
|  | 826 | 5.8181
|  | 825 | 5.8119
|  | 824 | 5.8107
|  | 823 | 5.8064
|  | 822 | 5.8075
|  | 821 | 5.8036
|  | 820 | 5.7912
|  | 819 | 5.7919
|  | 818 | 5.7943
|  | 817 | 5.7852
|  | 816 | 5.7794
|  | 815 | 5.7754
|  | 814 | 5.7728
|  | 813 | 5.7656
|  | 812 | 5.7658
|  | 811 | 5.7532
|  | 810 | 5.7614
|  | 809 | 5.7467
|  | 808 | 5.7421
|  | 807 | 5.7377
|  | 806 | 5.728
|  | 805 | 5.7218
|  | 804 | 5.7185
|  | 803 | 5.7172
|  | 802 | 5.7019
|  | 801 | 5.7024
|  | 800 | 5.6905
|  | 799 | 5.6858
|  | 798 | 5.6773
|  | 797 | 5.6662
|  | 796 | 5.6612
|  | 795 | 5.6571
|  | 794 | 5.6449
|  | 793 | 5.6383
|  | 792 | 5.6263
|  | 791 | 5.6174
|  | 790 | 5.6069
|  | 789 | 5.602
|  | 788 | 5.5898
|  | 787 | 5.5831
|  | 786 | 5.5664
|  | 785 | 5.5594
|  | 784 | 5.5454
|  | 783 | 5.5418
|  | 782 | 5.5302
|  | 781 | 5.5183
|  | 780 | 5.5
|  | 779 | 5.4931
|  | 778 | 5.4791
|  | 777 | 5.4664
|  | 776 | 5.4526
|  | 775 | 5.4368
|  | 774 | 5.424
|  | 773 | 5.4089
|  | 772 | 5.3973
|  | 771 | 5.3865
|  | 770 | 5.3703
|  | 769 | 5.3569
|  | 768 | 5.3402
|  | 767 | 5.3229
|  | 766 | 5.3047
|  | 765 | 5.2956
|  | 764 | 5.281
|  | 763 | 5.2609
|  | 762 | 5.2421
|  | 761 | 5.2268
|  | 760 | 5.2059
|  | 759 | 5.1949
|  | 758 | 5.1746
|  | 757 | 5.1546
|  | 756 | 5.1353
|  | 755 | 5.1173
|  | 754 | 5.0976
|  | 753 | 5.0827
|  | 752 | 5.0632
|  | 751 | 5.0418
|  | 750 | 5.0188
|  | 749 | 5.0008
|  | 748 | 4.9763
|  | 747 | 4.9577
|  | 746 | 4.9323
|  | 745 | 4.9104
|  | 744 | 4.8876
|  | 743 | 4.8675
|  | 742 | 4.8425
|  | 741 | 4.8235
|  | 740 | 4.8003
|  | 739 | 4.7712
|  | 738 | 4.7458
|  | 737 | 4.7199
|  | 736 | 4.694
|  | 735 | 4.6704
|  | 734 | 4.6434
|  | 733 | 4.6158
|  | 732 | 4.5854
|  | 731 | 4.5596
|  | 730 | 4.5271
|  | 729 | 4.5023
|  | 728 | 4.4718
|  | 727 | 4.439
|  | 726 | 4.4046
|  | 725 | 4.3747
|  | 724 | 4.3383
|  | 723 | 4.3111
|  | 722 | 4.2778
|  | 721 | 4.2388
|  | 720 | 4.2019
|  | 719 | 4.1661
|  | 718 | 4.1289
|  | 717 | 4.0952
|  | 716 | 4.0542
|  | 715 | 4.0118
|  | 714 | 3.9711
|  | 713 | 3.9289
|  | 712 | 3.8863
|  | 711 | 3.8469
|  | 710 | 3.8008
|  | 709 | 3.7534
|  | 708 | 3.7028
|  | 707 | 3.654
|  | 706 | 3.6048
|  | 705 | 3.5592
|  | 704 | 3.5042
|  | 703 | 3.4516
|  | 702 | 3.3963
|  | 701 | 3.3451
|  | 700 | 3.2878
|  | 699 | 3.2336
|  | 698 | 3.174
|  | 697 | 3.1132
|  | 696 | 3.0516
|  | 695 | 2.9907
|  | 694 | 2.9323
|  | 693 | 2.8734
|  | 692 | 2.8129
|  | 691 | 2.7497
|  | 690 | 2.6862
|  | 689 | 2.6226
|  | 688 | 2.5615
|  | 687 | 2.5011
|  | 686 | 2.4396
|  | 685 | 2.3774
|  | 684 | 2.3174
|  | 683 | 2.2592
|  | 682 | 2.201
|  | 681 | 2.1456
|  | 680 | 2.0925
|  | 679 | 2.0376
|  | 678 | 1.9846
|  | 677 | 1.9349
|  | 676 | 1.8875
|  | 675 | 1.8424
|  | 674 | 1.7996
|  | 673 | 1.7589
|  | 672 | 1.7185
|  | 671 | 1.6811
|  | 670 | 1.6451
|  | 669 | 1.6123
|  | 668 | 1.5803
|  | 667 | 1.549
|  | 666 | 1.5196
|  | 665 | 1.4931
|  | 664 | 1.4673
|  | 663 | 1.4447
|  | 662 | 1.4217
|  | 661 | 1.4005
|  | 660 | 1.3806
|  | 659 | 1.3615
|  | 658 | 1.3435
|  | 657 | 1.3273
|  | 656 | 1.3113
|  | 655 | 1.2954
|  | 654 | 1.2812
|  | 653 | 1.2681
|  | 652 | 1.2568
|  | 651 | 1.2461
|  | 650 | 1.2354
|  | 649 | 1.2248
|  | 648 | 1.2144
|  | 647 | 1.2058
|  | 646 | 1.1976
|  | 645 | 1.1904
|  | 644 | 1.1833
|  | 643 | 1.1762
|  | 642 | 1.1694
|  | 641 | 1.1636
|  | 640 | 1.1583
|  | 639 | 1.1538
|  | 638 | 1.1477
|  | 637 | 1.1417
|  | 636 | 1.1364
|  | 635 | 1.1315
|  | 634 | 1.1267
|  | 633 | 1.1223
|  | 632 | 1.1169
|  | 631 | 1.1108
|  | 630 | 1.1047
|  | 629 | 1.0991
|  | 628 | 1.0932
|  | 627 | 1.0873
|  | 626 | 1.0797
|  | 625 | 1.0722
|  | 624 | 1.0649
|  | 623 | 1.0581
|  | 622 | 1.0507
|  | 621 | 1.0433
|  | 620 | 1.0344
|  | 619 | 1.0255
|  | 618 | 1.0165
|  | 617 | 1.0076
|  | 616 | 0.99854
|  | 615 | 0.98999
|  | 614 | 0.98058
|  | 613 | 0.9711
|  | 612 | 0.96219
|  | 611 | 0.95327
|  | 610 | 0.94412
|  | 609 | 0.93532
|  | 608 | 0.92601
|  | 607 | 0.91687
|  | 606 | 0.90824
|  | 605 | 0.89985
|  | 604 | 0.89167
|  | 603 | 0.88405
|  | 602 | 0.87596
|  | 601 | 0.86801
|  | 600 | 0.86029
|  | 599 | 0.85308
|  | 598 | 0.84597
|  | 597 | 0.83939
|  | 596 | 0.83247
|  | 595 | 0.8262
|  | 594 | 0.82067
|  | 593 | 0.81547
|  | 592 | 0.81104
|  | 591 | 0.80749
|  | 590 | 0.80352
|  | 589 | 0.80015
|  | 588 | 0.79812
|  | 587 | 0.79632
|  | 586 | 0.79494
|  | 585 | 0.79421
|  | 584 | 0.79361
|  | 583 | 0.79321
|  | 582 | 0.79371
|  | 581 | 0.79481
|  | 580 | 0.79613
|  | 579 | 0.79801
|  | 578 | 0.79978
|  | 577 | 0.80173
|  | 576 | 0.8037
|  | 575 | 0.80595
|  | 574 | 0.80899
|  | 573 | 0.8116
|  | 572 | 0.81375
|  | 571 | 0.81651
|  | 570 | 0.81921
|  | 569 | 0.82179
|  | 568 | 0.82489
|  | 567 | 0.82786
|  | 566 | 0.82991
|  | 565 | 0.832
|  | 564 | 0.83414
|  | 563 | 0.83554
|  | 562 | 0.83741
|  | 561 | 0.83909
|  | 560 | 0.83953
|  | 559 | 0.84075
|  | 558 | 0.84125
|  | 557 | 0.84053
|  | 556 | 0.83944
|  | 555 | 0.83865
|  | 554 | 0.83722
|  | 553 | 0.83561
|  | 552 | 0.83324
|  | 551 | 0.83012
|  | 550 | 0.82633