## A011306
SN: | A011306
Item #: | RGB46HA
Item Description: | 3-Wavelength WDM: 488, 640, and 532 nm
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1
Test Wavelength (nm): | 488
Insertion Loss (dB): | -0.18
Isolation Channel 2 (dB): | -17.1
Isolation Channel 3 (dB): | -15.71
Port Name: | Channel 2
Test Wavelength (nm): | 532
Insertion Loss (dB): | -0.08
Isolation Channel 1 (dB): | -57.2
Isolation Channel 3 (dB): | -24.38
Port Name: | Channel 3
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.13
Isolation Channel 1 (dB): | -57.29
Isolation Channel 2 (dB): | -60
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 | Insertion Loss (dB) - Channel 2 | Insertion Loss (dB) - Channel 3
473 | -0.774 | -14.254 | -11.328
473.365 | -0.695 | -14.447 | -11.54
473.729 | -0.611 | -14.725 | -11.856
474.094 | -0.573 | -15.084 | -12.289
474.459 | -0.532 | -16.131 | -13.413
474.824 | -0.492 | -16.997 | -14.352
475.188 | -0.457 | -16.957 | -14.377
475.553 | -0.435 | -16.641 | -14.121
475.918 | -0.412 | -16.382 | -13.936
476.283 | -0.383 | -16.428 | -14.091
476.647 | -0.336 | -16.027 | -13.836
477.012 | -0.292 | -15.778 | -13.759
477.377 | -0.266 | -16.197 | -14.388
477.741 | -0.249 | -17.51 | -15.918
478.106 | -0.231 | -18.754 | -17.343
478.471 | -0.21 | -19.262 | -17.941
478.836 | -0.207 | -19.128 | -17.839
479.2 | -0.198 | -18.864 | -17.615
479.565 | -0.163 | -18.706 | -17.552
479.93 | -0.136 | -18.818 | -17.798
480.295 | -0.122 | -20.702 | -19.813
480.659 | -0.128 | -26.537 | -25.754
481.024 | -0.112 | -38.079 | -37.516
481.389 | -0.093 | -49.754 | -49.445
481.754 | -0.083 | -58.027 | -57.967
482.118 | -0.097 | -59.921 | -59.919
482.483 | -0.122 | -60 | -60
482.848 | -0.154 | -60 | -60
483.212 | -0.154 | -60 | -60
483.577 | -0.14 | -60 | -60
483.942 | -0.122 | -60 | -60
484.307 | -0.133 | -60 | -60
484.671 | -0.146 | -60 | -60
485.036 | -0.145 | -59.647 | -59.651
485.401 | -0.14 | -54.159 | -54.23
485.766 | -0.144 | -46.794 | -46.98
486.13 | -0.165 | -39.453 | -39.816
486.495 | -0.175 | -42.481 | -42.982
486.86 | -0.176 | -47.188 | -47.756
487.224 | -0.167 | -49.536 | -50.038
487.589 | -0.172 | -55.004 | -55.245
487.954 | -0.183 | -57.316 | -57.412
488.319 | -0.194 | -51.034 | -51.332
488.683 | -0.192 | -37.144 | -37.871
489.048 | -0.188 | -24.902 | -25.977
489.413 | -0.192 | -19.904 | -21.065
489.778 | -0.21 | -18.297 | -19.565
490.142 | -0.233 | -17.603 | -19.02
490.507 | -0.259 | -17.057 | -18.667
490.872 | -0.31 | -16.213 | -17.99
491.236 | -0.372 | -15.462 | -17.393
491.601 | -0.434 | -15.057 | -17.128
491.966 | -0.466 | -14.722 | -16.879
492.331 | -0.483 | -14.269 | -16.503
492.695 | -0.489 | -13.597 | -15.926
493.06 | -0.49 | -13.005 | -15.476
493.425 | -0.493 | -12.557 | -15.152
493.79 | -0.504 | -12.317 | -14.981
494.154 | -0.537 | -12.195 | -14.905
494.519 | -0.571 | -12.012 | -14.781
494.884 | -0.597 | -11.663 | -14.522
495.249 | -0.632 | -11.216 | -14.173
495.613 | -0.67 | -10.781 | -13.839
495.978 | -0.709 | -10.422 | -13.587
496.343 | -0.763 | -10.156 | -13.443
496.707 | -0.823 | -9.912 | -13.299
497.072 | -0.883 | -9.643 | -13.09
497.437 | -0.925 | -9.268 | -12.812
497.802 | -0.967 | -8.897 | -12.547
498.166 | -1.018 | -8.598 | -12.339
498.531 | -1.069 | -8.393 | -12.159
498.896 | -1.114 | -8.245 | -12.067
499.261 | -1.149 | -8.148 | -12.107
499.625 | -1.188 | -8.063 | -12.16
499.99 | -1.233 | -7.943 | -12.166
500.355 | -1.287 | -7.75 | -12.078
500.719 | -1.348 | -7.482 | -11.871
501.084 | -1.403 | -7.238 | -11.694
501.449 | -1.446 | -7.07 | -11.625
501.814 | -1.497 | -6.946 | -11.608
502.178 | -1.554 | -6.805 | -11.618
502.543 | -1.62 | -6.617 | -11.649
502.908 | -1.685 | -6.405 | -11.653
503.273 | -1.753 | -6.206 | -11.603
503.637 | -1.826 | -6.034 | -11.496
504.002 | -1.903 | -5.871 | -11.434
504.367 | -1.974 | -5.701 | -11.403
504.731 | -2.039 | -5.519 | -11.385
505.096 | -2.118 | -5.355 | -11.338
505.461 | -2.21 | -5.218 | -11.287
505.826 | -2.31 | -5.111 | -11.258
506.19 | -2.396 | -4.989 | -11.278
506.555 | -2.467 | -4.857 | -11.339
506.92 | -2.526 | -4.725 | -11.423
507.285 | -2.594 | -4.608 | -11.442
507.649 | -2.672 | -4.492 | -11.421
508.014 | -2.762 | -4.364 | -11.378
508.379 | -2.857 | -4.21 | -11.339
508.743 | -2.95 | -4.041 | -11.3
509.108 | -3.04 | -3.87 | -11.262
509.473 | -3.134 | -3.724 | -11.256
509.838 | -3.225 | -3.61 | -11.293
510.202 | -3.308 | -3.528 | -11.372
510.567 | -3.395 | -3.45 | -11.438
510.932 | -3.496 | -3.365 | -11.485
511.297 | -3.613 | -3.271 | -11.522
511.661 | -3.727 | -3.174 | -11.579
512.026 | -3.84 | -3.08 | -11.674
512.391 | -3.957 | -2.988 | -11.815
512.755 | -4.083 | -2.89 | -11.965
513.12 | -4.213 | -2.787 | -12.07
513.485 | -4.343 | -2.684 | -12.106
513.85 | -4.467 | -2.582 | -12.109
514.214 | -4.588 | -2.482 | -12.112
514.579 | -4.706 | -2.384 | -12.131
514.944 | -4.818 | -2.293 | -12.17
515.309 | -4.933 | -2.212 | -12.238
515.673 | -5.062 | -2.139 | -12.338
516.038 | -5.214 | -2.07 | -12.447
516.403 | -5.384 | -1.999 | -12.553
516.768 | -5.561 | -1.92 | -12.651
517.132 | -5.722 | -1.837 | -12.725
517.497 | -5.865 | -1.754 | -12.789
517.862 | -5.997 | -1.678 | -12.869
518.226 | -6.139 | -1.608 | -13.026
518.591 | -6.296 | -1.543 | -13.246
518.956 | -6.469 | -1.481 | -13.499
519.321 | -6.655 | -1.424 | -13.707
519.685 | -6.843 | -1.368 | -13.856
520.05 | -7.031 | -1.311 | -13.972
520.415 | -7.224 | -1.253 | -14.142
520.78 | -7.431 | -1.195 | -14.38
521.144 | -7.653 | -1.139 | -14.667
521.509 | -7.876 | -1.083 | -14.93
521.874 | -8.09 | -1.027 | -15.135
522.238 | -8.299 | -0.972 | -15.281
522.603 | -8.513 | -0.921 | -15.417
522.968 | -8.737 | -0.872 | -15.607
523.333 | -8.971 | -0.822 | -15.896
523.697 | -9.215 | -0.774 | -16.291
524.062 | -9.476 | -0.729 | -16.709
524.427 | -9.762 | -0.688 | -17.077
524.792 | -10.079 | -0.648 | -17.328
525.156 | -10.409 | -0.607 | -17.524
525.521 | -10.735 | -0.566 | -17.911
525.886 | -11.047 | -0.529 | -19.423
526.25 | -11.35 | -0.495 | -23.454
526.615 | -11.654 | -0.465 | -31.178
526.98 | -11.975 | -0.441 | -42.006
527.345 | -12.315 | -0.417 | -51.929
527.709 | -12.674 | -0.393 | -58.102
528.074 | -13.036 | -0.366 | -59.869
528.439 | -13.381 | -0.336 | -60
528.804 | -13.703 | -0.307 | -60
529.168 | -14.025 | -0.279 | -60
529.533 | -14.383 | -0.252 | -60
529.898 | -14.805 | -0.222 | -60
530.263 | -15.288 | -0.191 | -60
530.627 | -15.779 | -0.16 | -60
530.992 | -16.223 | -0.133 | -60
531.357 | -16.577 | -0.113 | -60
531.721 | -16.882 | -0.097 | -60
532.086 | -17.215 | -0.081 | -60
532.451 | -17.683 | -0.067 | -60
532.816 | -18.282 | -0.056 | -60
533.18 | -18.91 | -0.052 | -60
533.545 | -19.358 | -0.055 | -60
533.91 | -19.556 | -0.062 | -60
534.275 | -19.553 | -0.071 | -60
534.639 | -19.548 | -0.076 | -60
535.004 | -19.728 | -0.077 | -60
535.369 | -20.175 | -0.073 | -60
535.733 | -20.757 | -0.062 | -60
536.098 | -21.072 | -0.05 | -60
536.463 | -20.795 | -0.04 | -60
536.828 | -19.892 | -0.037 | -59.853
537.192 | -18.822 | -0.042 | -59.159
537.557 | -17.925 | -0.053 | -57.362
537.922 | -17.289 | -0.065 | -55.071
538.287 | -16.767 | -0.074 | -55.523
538.651 | -16.255 | -0.082 | -58.502
539.016 | -15.753 | -0.092 | -59.917
539.381 | -15.301 | -0.106 | -60
539.745 | -14.927 | -0.127 | -59.256
540.11 | -14.618 | -0.149 | -55.355
540.475 | -14.308 | -0.168 | -45.61
540.84 | -13.967 | -0.183 | -33.499
541.204 | -13.614 | -0.198 | -27.402
541.569 | -13.268 | -0.219 | -26.107
541.934 | -12.91 | -0.244 | -25.817
542.299 | -12.508 | -0.269 | -24.909
542.663 | -12.089 | -0.292 | -23.573
543.028 | -11.701 | -0.315 | -22.386
543.393 | -11.378 | -0.342 | -21.404
543.758 | -11.094 | -0.375 | -20.491
544.122 | -10.82 | -0.412 | -19.662
544.487 | -10.545 | -0.45 | -19.05
544.852 | -10.27 | -0.483 | -18.551
545.216 | -9.995 | -0.513 | -18.048
545.581 | -9.715 | -0.545 | -17.534
545.946 | -9.426 | -0.581 | -17.063
546.311 | -9.135 | -0.62 | -16.669
546.675 | -8.857 | -0.659 | -16.334
547.04 | -8.6 | -0.695 | -16.02
547.405 | -8.365 | -0.73 | -15.715
547.77 | -8.148 | -0.769 | -15.431
548.134 | -7.938 | -0.812 | -15.209
548.499 | -7.737 | -0.859 | -15.053
548.864 | -7.548 | -0.91 | -14.92
549.228 | -7.364 | -0.966 | -14.758
549.593 | -7.179 | -1.026 | -14.569
549.958 | -6.994 | -1.09 | -14.387
550.323 | -6.813 | -1.155 | -14.218
550.687 | -6.636 | -1.222 | -14.039
551.052 | -6.462 | -1.291 | -13.835
551.417 | -6.286 | -1.358 | -13.635
551.782 | -6.111 | -1.423 | -13.473
552.146 | -5.939 | -1.49 | -13.345
552.511 | -5.774 | -1.559 | -13.215
552.876 | -5.615 | -1.626 | -13.051
553.24 | -5.466 | -1.693 | -12.856
553.605 | -5.326 | -1.762 | -12.662
553.97 | -5.192 | -1.833 | -12.498
554.335 | -5.061 | -1.906 | -12.379
554.699 | -4.934 | -1.985 | -12.301
555.064 | -4.812 | -2.07 | -12.257
555.429 | -4.694 | -2.163 | -12.234
555.794 | -4.575 | -2.258 | -12.206
556.158 | -4.456 | -2.35 | -12.156
556.523 | -4.337 | -2.439 | -12.083
556.888 | -4.219 | -2.525 | -12.005
557.253 | -4.099 | -2.612 | -11.935
557.617 | -3.978 | -2.702 | -11.872
557.982 | -3.858 | -2.797 | -11.812
558.347 | -3.745 | -2.895 | -11.758
558.711 | -3.64 | -2.997 | -11.72
559.076 | -3.54 | -3.101 | -11.697
559.441 | -3.439 | -3.209 | -11.677
559.806 | -3.337 | -3.323 | -11.645
560.17 | -3.235 | -3.439 | -11.602
560.535 | -3.137 | -3.556 | -11.559
560.9 | -3.046 | -3.671 | -11.527
561.265 | -2.96 | -3.787 | -11.509
561.629 | -2.878 | -3.905 | -11.497
561.994 | -2.799 | -4.027 | -11.481
562.359 | -2.72 | -4.151 | -11.456
562.723 | -2.639 | -4.276 | -11.431
563.088 | -2.557 | -4.403 | -11.414
563.453 | -2.472 | -4.535 | -11.409
563.818 | -2.387 | -4.673 | -11.418
564.182 | -2.302 | -4.819 | -11.439
564.547 | -2.221 | -4.966 | -11.466
564.912 | -2.143 | -5.11 | -11.495
565.277 | -2.07 | -5.254 | -11.527
565.641 | -2 | -5.401 | -11.564
566.006 | -1.931 | -5.556 | -11.61
566.371 | -1.865 | -5.72 | -11.665
566.735 | -1.801 | -5.889 | -11.723
567.1 | -1.739 | -6.06 | -11.782
567.465 | -1.679 | -6.234 | -11.845
567.83 | -1.62 | -6.413 | -11.909
568.194 | -1.56 | -6.595 | -11.974
568.559 | -1.501 | -6.779 | -12.036
568.924 | -1.442 | -6.963 | -12.093
569.289 | -1.384 | -7.15 | -12.144
569.653 | -1.327 | -7.344 | -12.189
570.018 | -1.271 | -7.542 | -12.23
570.383 | -1.215 | -7.742 | -12.275
570.747 | -1.163 | -7.947 | -12.335
571.112 | -1.113 | -8.16 | -12.415
571.477 | -1.066 | -8.383 | -12.519
571.842 | -1.021 | -8.614 | -12.644
572.206 | -0.978 | -8.848 | -12.777
572.571 | -0.939 | -9.086 | -12.912
572.936 | -0.904 | -9.327 | -13.048
573.301 | -0.871 | -9.571 | -13.188
573.665 | -0.837 | -9.818 | -13.332
574.03 | -0.802 | -10.069 | -13.482
574.395 | -0.764 | -10.323 | -13.635
574.76 | -0.726 | -10.579 | -13.792
575.124 | -0.689 | -10.838 | -13.953
575.489 | -0.655 | -11.102 | -14.121
575.854 | -0.624 | -11.376 | -14.296
576.218 | -0.595 | -11.665 | -14.483
576.583 | -0.565 | -11.967 | -14.682
576.948 | -0.536 | -12.284 | -14.894
577.313 | -0.509 | -12.617 | -15.122
577.677 | -0.484 | -12.959 | -15.361
578.042 | -0.46 | -13.307 | -15.61
578.407 | -0.44 | -13.662 | -15.871
578.772 | -0.421 | -14.024 | -16.141
579.136 | -0.405 | -14.394 | -16.421
579.501 | -0.393 | -14.777 | -16.713
579.866 | -0.383 | -15.174 | -17.017
580.23 | -0.373 | -15.577 | -17.324
580.595 | -0.36 | -15.965 | -17.617
580.96 | -0.346 | -16.326 | -17.882
581.325 | -0.331 | -16.667 | -18.128
581.689 | -0.314 | -17.014 | -18.382
582.054 | -0.298 | -17.39 | -18.666
582.419 | -0.286 | -17.799 | -18.985
582.784 | -0.276 | -18.221 | -19.317
583.148 | -0.272 | -18.619 | -19.623
583.513 | -0.274 | -18.954 | -19.865
583.878 | -0.279 | -19.203 | -20.023
584.242 | -0.286 | -19.399 | -20.13
584.607 | -0.295 | -19.589 | -20.225
584.972 | -0.306 | -19.795 | -20.336
585.337 | -0.316 | -20.01 | -20.455
585.701 | -0.325 | -20.192 | -20.544
586.066 | -0.334 | -20.292 | -20.552
586.431 | -0.339 | -20.322 | -20.49
586.796 | -0.34 | -20.319 | -20.395
587.16 | -0.34 | -20.309 | -20.292
587.525 | -0.339 | -20.276 | -20.167
587.89 | -0.337 | -20.178 | -19.977
588.255 | -0.334 | -19.976 | -19.682
588.619 | -0.331 | -19.699 | -19.308
588.984 | -0.333 | -19.369 | -18.88
589.349 | -0.339 | -19 | -18.413
589.713 | -0.35 | -18.623 | -17.942
590.078 | -0.365 | -18.272 | -17.495
590.443 | -0.383 | -17.973 | -17.096
590.808 | -0.403 | -17.713 | -16.735
591.172 | -0.422 | -17.475 | -16.392
591.537 | -0.442 | -17.241 | -16.051
591.902 | -0.462 | -16.989 | -15.69
592.267 | -0.482 | -16.712 | -15.304
592.631 | -0.501 | -16.414 | -14.9
592.996 | -0.517 | -16.113 | -14.497
593.361 | -0.531 | -15.822 | -14.11
593.725 | -0.545 | -15.55 | -13.749
594.09 | -0.561 | -15.287 | -13.401
594.455 | -0.58 | -15.022 | -13.049
594.82 | -0.601 | -14.75 | -12.686
595.184 | -0.624 | -14.482 | -12.325
595.549 | -0.653 | -14.232 | -11.983
595.914 | -0.689 | -14.008 | -11.668
596.279 | -0.729 | -13.801 | -11.372
596.643 | -0.768 | -13.608 | -11.09
597.008 | -0.807 | -13.436 | -10.827
597.373 | -0.843 | -13.28 | -10.579
597.737 | -0.877 | -13.129 | -10.339
598.102 | -0.91 | -12.975 | -10.096
598.467 | -0.943 | -12.82 | -9.851
598.832 | -0.976 | -12.671 | -9.611
599.196 | -1.008 | -12.534 | -9.383
599.561 | -1.038 | -12.398 | -9.158
599.926 | -1.067 | -12.26 | -8.93
600.291 | -1.1 | -12.122 | -8.697
600.655 | -1.139 | -11.984 | -8.464
601.02 | -1.183 | -11.849 | -8.236
601.385 | -1.234 | -11.721 | -8.015
601.75 | -1.286 | -11.603 | -7.802
602.114 | -1.34 | -11.497 | -7.598
602.479 | -1.397 | -11.407 | -7.409
602.844 | -1.456 | -11.328 | -7.232
603.208 | -1.514 | -11.262 | -7.064
603.573 | -1.569 | -11.208 | -6.902
603.938 | -1.622 | -11.16 | -6.747
604.303 | -1.676 | -11.115 | -6.593
604.667 | -1.732 | -11.072 | -6.436
605.032 | -1.785 | -11.029 | -6.278
605.397 | -1.837 | -10.983 | -6.119
605.762 | -1.893 | -10.934 | -5.957
606.126 | -1.953 | -10.885 | -5.793
606.491 | -2.018 | -10.837 | -5.63
606.856 | -2.089 | -10.791 | -5.469
607.22 | -2.163 | -10.75 | -5.313
607.585 | -2.241 | -10.715 | -5.161
607.95 | -2.324 | -10.687 | -5.014
608.315 | -2.411 | -10.667 | -4.872
608.679 | -2.503 | -10.656 | -4.739
609.044 | -2.598 | -10.657 | -4.618
609.409 | -2.692 | -10.664 | -4.505
609.774 | -2.782 | -10.673 | -4.397
610.138 | -2.872 | -10.682 | -4.287
610.503 | -2.961 | -10.69 | -4.173
610.868 | -3.05 | -10.697 | -4.056
611.232 | -3.139 | -10.703 | -3.938
611.597 | -3.23 | -10.71 | -3.817
611.962 | -3.323 | -10.717 | -3.695
612.327 | -3.42 | -10.724 | -3.574
612.691 | -3.522 | -10.735 | -3.457
613.056 | -3.63 | -10.751 | -3.343
613.421 | -3.745 | -10.774 | -3.235
613.786 | -3.865 | -10.801 | -3.132
614.15 | -3.987 | -10.832 | -3.035
614.515 | -4.108 | -10.868 | -2.942
614.88 | -4.228 | -10.909 | -2.852
615.245 | -4.347 | -10.954 | -2.764
615.609 | -4.469 | -11.006 | -2.677
615.974 | -4.591 | -11.06 | -2.591
616.339 | -4.711 | -11.115 | -2.506
616.703 | -4.827 | -11.168 | -2.42
617.068 | -4.941 | -11.221 | -2.332
617.433 | -5.055 | -11.274 | -2.243
617.798 | -5.173 | -11.327 | -2.155
618.162 | -5.299 | -11.383 | -2.07
618.527 | -5.432 | -11.444 | -1.988
618.892 | -5.577 | -11.512 | -1.908
619.257 | -5.729 | -11.585 | -1.829
619.621 | -5.888 | -11.662 | -1.75
619.986 | -6.057 | -11.746 | -1.675
620.351 | -6.234 | -11.837 | -1.604
620.715 | -6.415 | -11.933 | -1.538
621.08 | -6.599 | -12.035 | -1.477
621.445 | -6.781 | -12.14 | -1.418
621.81 | -6.961 | -12.248 | -1.359
622.174 | -7.135 | -12.363 | -1.299
622.539 | -7.306 | -12.478 | -1.238
622.904 | -7.474 | -12.593 | -1.175
623.269 | -7.647 | -12.706 | -1.108
623.633 | -7.823 | -12.821 | -1.039
623.998 | -8.003 | -12.94 | -0.97
624.363 | -8.189 | -13.067 | -0.906
624.727 | -8.384 | -13.201 | -0.846
625.092 | -8.591 | -13.341 | -0.79
625.457 | -8.814 | -13.494 | -0.739
625.822 | -9.048 | -13.655 | -0.692
626.186 | -9.287 | -13.822 | -0.648
626.551 | -9.531 | -14.001 | -0.609
626.916 | -9.779 | -14.189 | -0.57
627.281 | -10.027 | -14.381 | -0.533
627.645 | -10.27 | -14.574 | -0.5
628.01 | -10.507 | -14.77 | -0.468
628.375 | -10.74 | -14.97 | -0.437
628.74 | -10.969 | -15.176 | -0.407
629.104 | -11.191 | -15.388 | -0.372
629.469 | -11.409 | -15.604 | -0.335
629.834 | -11.626 | -15.831 | -0.3
630.198 | -11.848 | -16.069 | -0.264
630.563 | -12.08 | -16.317 | -0.227
630.928 | -12.339 | -16.57 | -0.195
631.293 | -12.623 | -16.83 | -0.167
631.657 | -12.929 | -17.097 | -0.143
632.022 | -13.261 | -17.378 | -0.126
632.387 | -13.605 | -17.67 | -0.115
632.752 | -13.953 | -17.969 | -0.111
633.116 | -14.295 | -18.271 | -0.11
633.481 | -14.624 | -18.585 | -0.109
633.846 | -14.936 | -18.909 | -0.107
634.21 | -15.213 | -19.247 | -0.1
634.575 | -15.447 | -19.591 | -0.089
634.94 | -15.646 | -19.941 | -0.076
635.305 | -15.795 | -20.305 | -0.063
635.669 | -15.907 | -20.669 | -0.05
636.034 | -15.99 | -21.03 | -0.037
636.399 | -16.042 | -21.383 | -0.024
636.764 | -16.073 | -21.74 | -0.016
637.128 | -16.09 | -22.102 | -0.011
637.493 | -16.094 | -22.478 | -0.011
637.858 | -16.071 | -22.852 | -0.015
638.222 | -16.028 | -23.217 | -0.024
638.587 | -15.97 | -23.56 | -0.044
638.952 | -15.91 | -23.857 | -0.068
639.317 | -15.851 | -24.109 | -0.093
639.681 | -15.79 | -24.28 | -0.113
640.046 | -15.701 | -24.385 | -0.132
640.411 | -15.585 | -24.431 | -0.151
640.776 | -15.422 | -24.384 | -0.164
641.14 | -15.214 | -24.26 | -0.174
641.505 | -14.972 | -24.084 | -0.18
641.87 | -14.686 | -23.851 | -0.187
642.234 | -14.384 | -23.586 | -0.194
642.599 | -14.075 | -23.299 | -0.203
642.964 | -13.768 | -22.988 | -0.221
643.329 | -13.462 | -22.65 | -0.245
643.693 | -13.158 | -22.294 | -0.272
644.058 | -12.86 | -21.925 | -0.304
644.423 | -12.569 | -21.566 | -0.341
644.788 | -12.287 | -21.219 | -0.38
645.152 | -12.022 | -20.894 | -0.419
645.517 | -11.758 | -20.57 | -0.458
645.882 | -11.494 | -20.246 | -0.497
646.247 | -11.234 | -19.922 | -0.531
646.611 | -10.971 | -19.604 | -0.56
646.976 | -10.704 | -19.289 | -0.586
647.341 | -10.433 | -18.978 | -0.608
647.705 | -10.154 | -18.673 | -0.628
648.07 | -9.873 | -18.376 | -0.649
648.435 | -9.597 | -18.092 | -0.674
648.8 | -9.331 | -17.819 | -0.703
649.164 | -9.073 | -17.555 | -0.737
649.529 | -8.83 | -17.31 | -0.78
649.894 | -8.605 | -17.075 | -0.825
650.259 | -8.393 | -16.847 | -0.872
650.623 | -8.197 | -16.631 | -0.923
650.988 | -8.01 | -16.421 | -0.979
651.353 | -7.829 | -16.215 | -1.036
651.717 | -7.657 | -16.017 | -1.09
652.082 | -7.486 | -15.819 | -1.14
652.447 | -7.313 | -15.621 | -1.186
652.812 | -7.136 | -15.422 | -1.223
653.176 | -6.959 | -15.228 | -1.258
653.541 | -6.782 | -15.038 | -1.29
653.906 | -6.604 | -14.855 | -1.323
654.271 | -6.428 | -14.685 | -1.356
654.635 | -6.257 | -14.521 | -1.392
655 | -6.1 | -14.368 | -1.438