## T152223
SN: | T152223
Item #: | TW470R5F1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 460HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 470
Insertion Loss (dB): | -3.3
Coupling Ratio (%): | 47.35
Uniformity (dB): | 0.5
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 470
Insertion Loss (dB): | -2.84
Coupling Ratio (%): | 52.65
Uniformity (dB): | 0.6
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
420 | -2.855 | 53.994 | -3.551 | 46.006
420.2 | -2.855 | 53.981 | -3.548 | 46.019
420.401 | -2.847 | 53.824 | -3.512 | 46.176
420.601 | -2.842 | 53.686 | -3.483 | 46.314
420.802 | -2.858 | 53.699 | -3.501 | 46.301
421.002 | -2.872 | 53.74 | -3.523 | 46.26
421.202 | -2.873 | 53.949 | -3.561 | 46.051
421.403 | -2.875 | 54.113 | -3.591 | 45.887
421.603 | -2.876 | 54.062 | -3.583 | 45.938
421.804 | -2.879 | 53.979 | -3.572 | 46.021
422.004 | -2.89 | 53.786 | -3.549 | 46.214
422.204 | -2.904 | 53.582 | -3.528 | 46.418
422.405 | -2.931 | 53.35 | -3.514 | 46.65
422.605 | -2.954 | 53.101 | -3.493 | 46.899
422.806 | -2.964 | 52.811 | -3.453 | 47.189
423.006 | -2.973 | 52.594 | -3.424 | 47.406
423.206 | -2.977 | 52.56 | -3.422 | 47.44
423.407 | -2.976 | 52.54 | -3.418 | 47.46
423.607 | -2.964 | 52.538 | -3.405 | 47.462
423.808 | -2.955 | 52.533 | -3.395 | 47.467
424.008 | -2.952 | 52.519 | -3.39 | 47.481
424.208 | -2.962 | 52.482 | -3.393 | 47.518
424.409 | -2.991 | 52.408 | -3.41 | 47.592
424.609 | -2.997 | 52.382 | -3.411 | 47.618
424.81 | -2.966 | 52.429 | -3.389 | 47.571
425.01 | -2.945 | 52.446 | -3.371 | 47.554
425.21 | -2.939 | 52.423 | -3.36 | 47.577
425.411 | -2.922 | 52.478 | -3.353 | 47.522
425.611 | -2.894 | 52.625 | -3.35 | 47.375
425.812 | -2.88 | 52.676 | -3.346 | 47.324
426.012 | -2.885 | 52.613 | -3.339 | 47.387
426.212 | -2.911 | 52.457 | -3.338 | 47.543
426.413 | -2.955 | 52.229 | -3.342 | 47.771
426.613 | -2.974 | 52.195 | -3.356 | 47.805
426.814 | -2.97 | 52.333 | -3.376 | 47.667
427.014 | -2.972 | 52.35 | -3.381 | 47.65
427.214 | -2.98 | 52.259 | -3.373 | 47.741
427.415 | -2.984 | 52.156 | -3.359 | 47.844
427.615 | -2.985 | 52.035 | -3.338 | 47.965
427.816 | -3.002 | 51.736 | -3.304 | 48.264
428.016 | -3.029 | 51.343 | -3.262 | 48.657
428.216 | -3.024 | 51.268 | -3.245 | 48.732
428.417 | -3.002 | 51.386 | -3.243 | 48.614
428.617 | -3.004 | 51.441 | -3.254 | 48.559
428.818 | -3.019 | 51.456 | -3.272 | 48.544
429.018 | -3.024 | 51.521 | -3.288 | 48.479
429.218 | -3.024 | 51.602 | -3.302 | 48.398
429.419 | -3.022 | 51.571 | -3.295 | 48.429
429.619 | -3.02 | 51.495 | -3.279 | 48.505
429.82 | -3.021 | 51.492 | -3.28 | 48.508
430.02 | -3.024 | 51.509 | -3.287 | 48.491
430.22 | -3.039 | 51.399 | -3.282 | 48.601
430.421 | -3.057 | 51.251 | -3.274 | 48.749
430.621 | -3.059 | 51.201 | -3.268 | 48.799
430.822 | -3.057 | 51.178 | -3.262 | 48.822
431.022 | -3.061 | 51.101 | -3.252 | 48.899
431.222 | -3.064 | 51.025 | -3.243 | 48.975
431.423 | -3.045 | 51.096 | -3.235 | 48.904
431.623 | -3.024 | 51.179 | -3.229 | 48.821
431.824 | -3.043 | 51.046 | -3.225 | 48.954
432.024 | -3.067 | 50.881 | -3.22 | 49.119
432.224 | -3.06 | 50.88 | -3.213 | 49.12
432.425 | -3.049 | 50.907 | -3.207 | 49.093
432.625 | -3.056 | 50.864 | -3.206 | 49.136
432.826 | -3.065 | 50.822 | -3.208 | 49.178
433.026 | -3.069 | 50.875 | -3.221 | 49.125
433.226 | -3.072 | 50.933 | -3.234 | 49.067
433.427 | -3.071 | 50.914 | -3.23 | 49.086
433.627 | -3.073 | 50.862 | -3.223 | 49.138
433.828 | -3.092 | 50.694 | -3.212 | 49.306
434.028 | -3.109 | 50.54 | -3.203 | 49.46
434.228 | -3.107 | 50.532 | -3.199 | 49.468
434.429 | -3.103 | 50.507 | -3.191 | 49.493
434.629 | -3.108 | 50.331 | -3.165 | 49.669
434.83 | -3.109 | 50.202 | -3.144 | 49.798
435.03 | -3.096 | 50.315 | -3.15 | 49.685
435.23 | -3.085 | 50.421 | -3.158 | 49.579
435.431 | -3.091 | 50.378 | -3.157 | 49.622
435.631 | -3.101 | 50.289 | -3.151 | 49.711
435.832 | -3.114 | 50.148 | -3.139 | 49.852
436.032 | -3.123 | 50.048 | -3.132 | 49.952
436.232 | -3.125 | 50.067 | -3.136 | 49.933
436.433 | -3.122 | 50.077 | -3.135 | 49.923
436.633 | -3.113 | 50.025 | -3.118 | 49.975
436.834 | -3.109 | 49.995 | -3.109 | 50.005
437.034 | -3.117 | 50.028 | -3.122 | 49.972
437.234 | -3.123 | 50.043 | -3.131 | 49.957
437.435 | -3.121 | 50.008 | -3.123 | 49.992
437.635 | -3.117 | 49.981 | -3.114 | 50.019
437.836 | -3.112 | 49.977 | -3.108 | 50.023
438.036 | -3.118 | 49.933 | -3.106 | 50.067
438.236 | -3.136 | 49.828 | -3.106 | 50.172
438.437 | -3.146 | 49.761 | -3.105 | 50.239
438.637 | -3.141 | 49.765 | -3.1 | 50.235
438.838 | -3.135 | 49.778 | -3.097 | 50.222
439.038 | -3.135 | 49.773 | -3.095 | 50.227
439.238 | -3.142 | 49.692 | -3.088 | 50.308
439.439 | -3.156 | 49.542 | -3.076 | 50.458
439.639 | -3.163 | 49.502 | -3.077 | 50.498
439.84 | -3.161 | 49.592 | -3.09 | 50.408
440.04 | -3.159 | 49.643 | -3.097 | 50.357
440.24 | -3.158 | 49.625 | -3.093 | 50.375
440.441 | -3.163 | 49.592 | -3.092 | 50.408
440.641 | -3.171 | 49.558 | -3.094 | 50.442
440.842 | -3.171 | 49.526 | -3.088 | 50.474
441.042 | -3.163 | 49.488 | -3.074 | 50.512
441.242 | -3.158 | 49.415 | -3.056 | 50.585
441.443 | -3.156 | 49.33 | -3.04 | 50.67
441.643 | -3.156 | 49.327 | -3.039 | 50.673
441.844 | -3.156 | 49.38 | -3.049 | 50.62
442.044 | -3.16 | 49.384 | -3.053 | 50.616
442.244 | -3.164 | 49.351 | -3.051 | 50.649
442.445 | -3.163 | 49.351 | -3.051 | 50.649
442.645 | -3.162 | 49.369 | -3.052 | 50.631
442.846 | -3.168 | 49.338 | -3.053 | 50.662
443.046 | -3.178 | 49.272 | -3.051 | 50.728
443.246 | -3.183 | 49.2 | -3.044 | 50.8
443.447 | -3.186 | 49.134 | -3.035 | 50.866
443.647 | -3.187 | 49.085 | -3.028 | 50.915
443.848 | -3.187 | 49.056 | -3.023 | 50.944
444.048 | -3.185 | 49.066 | -3.023 | 50.934
444.249 | -3.182 | 49.082 | -3.023 | 50.918
444.449 | -3.178 | 49.048 | -3.013 | 50.952
444.649 | -3.175 | 48.999 | -3.001 | 51.001
444.85 | -3.174 | 48.992 | -2.999 | 51.008
445.05 | -3.175 | 49.003 | -3.002 | 50.997
445.25 | -3.182 | 48.995 | -3.007 | 51.005
445.451 | -3.19 | 48.975 | -3.012 | 51.025
445.651 | -3.197 | 48.942 | -3.013 | 51.058
445.852 | -3.203 | 48.894 | -3.011 | 51.106
446.052 | -3.208 | 48.812 | -3.002 | 51.188
446.253 | -3.212 | 48.726 | -2.991 | 51.274
446.453 | -3.213 | 48.673 | -2.982 | 51.327
446.653 | -3.211 | 48.654 | -2.977 | 51.346
446.854 | -3.2 | 48.707 | -2.975 | 51.293
447.054 | -3.192 | 48.746 | -2.974 | 51.254
447.255 | -3.202 | 48.666 | -2.97 | 51.334
447.455 | -3.213 | 48.576 | -2.965 | 51.424
447.655 | -3.21 | 48.577 | -2.962 | 51.423
447.856 | -3.203 | 48.636 | -2.966 | 51.364
448.056 | -3.197 | 48.769 | -2.983 | 51.231
448.257 | -3.199 | 48.833 | -2.996 | 51.167
448.457 | -3.215 | 48.663 | -2.983 | 51.337
448.657 | -3.235 | 48.439 | -2.963 | 51.561
448.858 | -3.248 | 48.275 | -2.948 | 51.725
449.058 | -3.254 | 48.189 | -2.94 | 51.811
449.259 | -3.249 | 48.228 | -2.941 | 51.772
449.459 | -3.24 | 48.299 | -2.944 | 51.701
449.659 | -3.232 | 48.344 | -2.945 | 51.656
449.86 | -3.229 | 48.355 | -2.943 | 51.645
450.06 | -3.232 | 48.321 | -2.941 | 51.679
450.261 | -3.238 | 48.293 | -2.942 | 51.707
450.461 | -3.245 | 48.301 | -2.95 | 51.699
450.661 | -3.254 | 48.322 | -2.963 | 51.678
450.862 | -3.265 | 48.342 | -2.977 | 51.658
451.062 | -3.272 | 48.349 | -2.985 | 51.651
451.263 | -3.27 | 48.337 | -2.981 | 51.663
451.463 | -3.265 | 48.318 | -2.973 | 51.682
451.663 | -3.261 | 48.299 | -2.965 | 51.701
451.864 | -3.262 | 48.265 | -2.961 | 51.735
452.064 | -3.27 | 48.211 | -2.96 | 51.789
452.265 | -3.278 | 48.158 | -2.958 | 51.842
452.465 | -3.282 | 48.111 | -2.953 | 51.889
452.665 | -3.287 | 48.054 | -2.948 | 51.946
452.866 | -3.293 | 47.991 | -2.943 | 52.009
453.066 | -3.294 | 47.951 | -2.938 | 52.049
453.267 | -3.289 | 47.951 | -2.933 | 52.049
453.467 | -3.28 | 47.985 | -2.929 | 52.015
453.667 | -3.269 | 48.035 | -2.927 | 51.965
453.868 | -3.263 | 48.059 | -2.926 | 51.941
454.068 | -3.262 | 48.055 | -2.924 | 51.945
454.269 | -3.258 | 48.064 | -2.922 | 51.936
454.469 | -3.252 | 48.089 | -2.92 | 51.911
454.669 | -3.25 | 48.092 | -2.918 | 51.908
454.87 | -3.256 | 48.052 | -2.917 | 51.948
455.07 | -3.271 | 47.953 | -2.916 | 52.047
455.271 | -3.291 | 47.821 | -2.913 | 52.179
455.471 | -3.303 | 47.717 | -2.906 | 52.283
455.671 | -3.304 | 47.669 | -2.899 | 52.331
455.872 | -3.3 | 47.692 | -2.899 | 52.308
456.072 | -3.296 | 47.758 | -2.907 | 52.242
456.273 | -3.297 | 47.803 | -2.915 | 52.197
456.473 | -3.299 | 47.827 | -2.921 | 52.173
456.673 | -3.295 | 47.859 | -2.922 | 52.141
456.874 | -3.288 | 47.874 | -2.919 | 52.126
457.074 | -3.291 | 47.813 | -2.911 | 52.187
457.275 | -3.302 | 47.711 | -2.904 | 52.289
457.475 | -3.313 | 47.641 | -2.903 | 52.359
457.675 | -3.321 | 47.599 | -2.904 | 52.401
457.876 | -3.328 | 47.556 | -2.903 | 52.444
458.076 | -3.332 | 47.539 | -2.904 | 52.461
458.277 | -3.329 | 47.602 | -2.912 | 52.398
458.477 | -3.326 | 47.691 | -2.924 | 52.309
458.677 | -3.33 | 47.72 | -2.934 | 52.28
458.878 | -3.335 | 47.706 | -2.937 | 52.294
459.078 | -3.329 | 47.695 | -2.929 | 52.305
459.279 | -3.32 | 47.671 | -2.915 | 52.329
459.479 | -3.32 | 47.606 | -2.904 | 52.394
459.679 | -3.327 | 47.525 | -2.897 | 52.475
459.88 | -3.336 | 47.456 | -2.893 | 52.544
460.08 | -3.344 | 47.434 | -2.898 | 52.566
460.281 | -3.349 | 47.502 | -2.914 | 52.498
460.481 | -3.35 | 47.555 | -2.925 | 52.445
460.681 | -3.346 | 47.474 | -2.906 | 52.526
460.882 | -3.339 | 47.377 | -2.883 | 52.623
461.082 | -3.331 | 47.394 | -2.878 | 52.606
461.283 | -3.327 | 47.455 | -2.884 | 52.545
461.483 | -3.33 | 47.482 | -2.892 | 52.518
461.683 | -3.337 | 47.485 | -2.9 | 52.515
461.884 | -3.344 | 47.477 | -2.906 | 52.523
462.084 | -3.346 | 47.494 | -2.91 | 52.506
462.285 | -3.335 | 47.567 | -2.912 | 52.433
462.485 | -3.332 | 47.604 | -2.915 | 52.396
462.685 | -3.351 | 47.523 | -2.921 | 52.477
462.886 | -3.367 | 47.393 | -2.914 | 52.607
463.086 | -3.359 | 47.281 | -2.886 | 52.719
463.287 | -3.343 | 47.247 | -2.864 | 52.753
463.487 | -3.336 | 47.33 | -2.871 | 52.67
463.687 | -3.334 | 47.417 | -2.885 | 52.583
463.888 | -3.338 | 47.422 | -2.889 | 52.578
464.088 | -3.341 | 47.393 | -2.888 | 52.607
464.289 | -3.342 | 47.374 | -2.885 | 52.626
464.489 | -3.339 | 47.372 | -2.883 | 52.628
464.689 | -3.335 | 47.388 | -2.881 | 52.612
464.89 | -3.33 | 47.397 | -2.877 | 52.603
465.09 | -3.326 | 47.381 | -2.871 | 52.619
465.291 | -3.325 | 47.353 | -2.865 | 52.647
465.491 | -3.327 | 47.323 | -2.862 | 52.677
465.691 | -3.332 | 47.292 | -2.861 | 52.708
465.892 | -3.337 | 47.272 | -2.863 | 52.728
466.092 | -3.338 | 47.295 | -2.867 | 52.705
466.293 | -3.332 | 47.362 | -2.873 | 52.638
466.493 | -3.325 | 47.409 | -2.874 | 52.591
466.693 | -3.319 | 47.414 | -2.869 | 52.586
466.894 | -3.308 | 47.43 | -2.861 | 52.57
467.094 | -3.297 | 47.455 | -2.854 | 52.545
467.295 | -3.303 | 47.4 | -2.851 | 52.6
467.495 | -3.325 | 47.262 | -2.849 | 52.738
467.695 | -3.339 | 47.155 | -2.845 | 52.845
467.896 | -3.334 | 47.148 | -2.838 | 52.852
468.096 | -3.319 | 47.238 | -2.839 | 52.762
468.297 | -3.303 | 47.379 | -2.847 | 52.621
468.497 | -3.286 | 47.474 | -2.847 | 52.526
468.697 | -3.277 | 47.465 | -2.836 | 52.535
468.898 | -3.283 | 47.335 | -2.82 | 52.665
469.098 | -3.299 | 47.161 | -2.806 | 52.839
469.299 | -3.306 | 47.097 | -2.801 | 52.903
469.499 | -3.301 | 47.163 | -2.807 | 52.837
469.699 | -3.297 | 47.26 | -2.821 | 52.74
469.9 | -3.3 | 47.328 | -2.836 | 52.672
470.1 | -3.31 | 47.334 | -2.846 | 52.666
470.301 | -3.322 | 47.297 | -2.852 | 52.703
470.501 | -3.335 | 47.266 | -2.859 | 52.734
470.701 | -3.345 | 47.238 | -2.865 | 52.762
470.902 | -3.35 | 47.182 | -2.859 | 52.818
471.102 | -3.346 | 47.148 | -2.85 | 52.852
471.303 | -3.333 | 47.227 | -2.851 | 52.773
471.503 | -3.316 | 47.385 | -2.861 | 52.615
471.703 | -3.303 | 47.528 | -2.873 | 52.472
471.904 | -3.298 | 47.607 | -2.882 | 52.393
472.104 | -3.302 | 47.597 | -2.884 | 52.403
472.305 | -3.308 | 47.555 | -2.882 | 52.445
472.505 | -3.304 | 47.565 | -2.88 | 52.435
472.705 | -3.301 | 47.574 | -2.879 | 52.426
472.906 | -3.313 | 47.487 | -2.876 | 52.513
473.106 | -3.326 | 47.395 | -2.873 | 52.605
473.307 | -3.317 | 47.436 | -2.872 | 52.564
473.507 | -3.304 | 47.499 | -2.869 | 52.501
473.707 | -3.312 | 47.419 | -2.863 | 52.581
473.908 | -3.329 | 47.307 | -2.861 | 52.693
474.108 | -3.337 | 47.322 | -2.871 | 52.678
474.309 | -3.337 | 47.405 | -2.886 | 52.595
474.509 | -3.338 | 47.468 | -2.898 | 52.532
474.709 | -3.339 | 47.504 | -2.905 | 52.496
474.91 | -3.339 | 47.515 | -2.907 | 52.485
475.11 | -3.337 | 47.517 | -2.906 | 52.483
475.311 | -3.334 | 47.525 | -2.903 | 52.475
475.511 | -3.33 | 47.538 | -2.902 | 52.462
475.711 | -3.33 | 47.552 | -2.904 | 52.448
475.912 | -3.334 | 47.557 | -2.909 | 52.443
476.112 | -3.344 | 47.546 | -2.917 | 52.454
476.313 | -3.351 | 47.535 | -2.922 | 52.465
476.513 | -3.347 | 47.539 | -2.919 | 52.461
476.713 | -3.34 | 47.558 | -2.916 | 52.442
476.914 | -3.337 | 47.593 | -2.919 | 52.407
477.114 | -3.335 | 47.637 | -2.925 | 52.363
477.315 | -3.334 | 47.68 | -2.931 | 52.32
477.515 | -3.334 | 47.701 | -2.935 | 52.299
477.715 | -3.335 | 47.684 | -2.933 | 52.316
477.916 | -3.337 | 47.66 | -2.93 | 52.34
478.116 | -3.339 | 47.648 | -2.93 | 52.352
478.317 | -3.338 | 47.638 | -2.927 | 52.362
478.517 | -3.332 | 47.62 | -2.918 | 52.38
478.717 | -3.324 | 47.605 | -2.908 | 52.395
478.918 | -3.318 | 47.6 | -2.901 | 52.4
479.118 | -3.315 | 47.613 | -2.9 | 52.387
479.319 | -3.315 | 47.643 | -2.905 | 52.357
479.519 | -3.316 | 47.667 | -2.91 | 52.333
479.719 | -3.315 | 47.68 | -2.912 | 52.32
479.92 | -3.313 | 47.728 | -2.918 | 52.272
480.12 | -3.31 | 47.82 | -2.931 | 52.18
480.321 | -3.307 | 47.883 | -2.939 | 52.117
480.521 | -3.305 | 47.884 | -2.937 | 52.116
480.721 | -3.301 | 47.877 | -2.932 | 52.123
480.922 | -3.293 | 47.895 | -2.927 | 52.105
481.122 | -3.285 | 47.945 | -2.928 | 52.055
481.323 | -3.278 | 48.011 | -2.933 | 51.989
481.523 | -3.275 | 48.046 | -2.936 | 51.954
481.723 | -3.277 | 48.029 | -2.934 | 51.971
481.924 | -3.279 | 47.981 | -2.929 | 52.019
482.124 | -3.283 | 47.922 | -2.922 | 52.078
482.325 | -3.286 | 47.869 | -2.916 | 52.131
482.525 | -3.286 | 47.851 | -2.912 | 52.149
482.725 | -3.276 | 47.91 | -2.913 | 52.09
482.926 | -3.26 | 48.029 | -2.918 | 51.971
483.126 | -3.248 | 48.122 | -2.922 | 51.878
483.327 | -3.245 | 48.157 | -2.925 | 51.843
483.527 | -3.249 | 48.14 | -2.926 | 51.86
483.727 | -3.257 | 48.094 | -2.926 | 51.906
483.928 | -3.262 | 48.051 | -2.923 | 51.949
484.128 | -3.261 | 48.023 | -2.918 | 51.977
484.329 | -3.258 | 48.006 | -2.911 | 51.994
484.529 | -3.25 | 48.014 | -2.905 | 51.986
484.729 | -3.235 | 48.076 | -2.9 | 51.924
484.93 | -3.215 | 48.167 | -2.897 | 51.833
485.13 | -3.198 | 48.234 | -2.891 | 51.766
485.331 | -3.187 | 48.259 | -2.885 | 51.741
485.531 | -3.188 | 48.231 | -2.88 | 51.769
485.731 | -3.195 | 48.178 | -2.878 | 51.822
485.932 | -3.199 | 48.143 | -2.877 | 51.857
486.132 | -3.198 | 48.127 | -2.873 | 51.873
486.333 | -3.19 | 48.115 | -2.863 | 51.885
486.533 | -3.178 | 48.114 | -2.85 | 51.886
486.733 | -3.166 | 48.137 | -2.842 | 51.863
486.934 | -3.154 | 48.188 | -2.839 | 51.812
487.134 | -3.143 | 48.276 | -2.843 | 51.724
487.335 | -3.133 | 48.352 | -2.847 | 51.648
487.535 | -3.131 | 48.343 | -2.843 | 51.657
487.735 | -3.131 | 48.292 | -2.834 | 51.708
487.936 | -3.131 | 48.249 | -2.826 | 51.751
488.136 | -3.128 | 48.232 | -2.82 | 51.768
488.337 | -3.12 | 48.264 | -2.818 | 51.736
488.537 | -3.113 | 48.305 | -2.818 | 51.695
488.737 | -3.112 | 48.311 | -2.818 | 51.689
488.938 | -3.112 | 48.318 | -2.819 | 51.682
489.138 | -3.105 | 48.373 | -2.823 | 51.627
489.339 | -3.098 | 48.433 | -2.826 | 51.567
489.539 | -3.095 | 48.45 | -2.825 | 51.55
489.739 | -3.09 | 48.459 | -2.822 | 51.541
489.94 | -3.077 | 48.495 | -2.816 | 51.505
490.14 | -3.063 | 48.535 | -2.809 | 51.465
490.341 | -3.054 | 48.559 | -2.803 | 51.441
490.541 | -3.046 | 48.58 | -2.8 | 51.42
490.741 | -3.04 | 48.607 | -2.798 | 51.393
490.942 | -3.037 | 48.608 | -2.795 | 51.392
491.142 | -3.038 | 48.547 | -2.786 | 51.453
491.343 | -3.039 | 48.473 | -2.773 | 51.527
491.543 | -3.033 | 48.415 | -2.757 | 51.585
491.743 | -3.028 | 48.367 | -2.744 | 51.633
491.944 | -3.029 | 48.331 | -2.739 | 51.669
492.144 | -3.028 | 48.305 | -2.733 | 51.695
492.345 | -3.019 | 48.296 | -2.723 | 51.704
492.545 | -3.008 | 48.326 | -2.717 | 51.674
492.745 | -2.994 | 48.421 | -2.72 | 51.579
492.946 | -2.981 | 48.53 | -2.726 | 51.47
493.146 | -2.971 | 48.617 | -2.731 | 51.383
493.347 | -2.966 | 48.652 | -2.732 | 51.348
493.547 | -2.965 | 48.619 | -2.725 | 51.381
493.747 | -2.955 | 48.642 | -2.719 | 51.358
493.948 | -2.929 | 48.778 | -2.716 | 51.222
494.148 | -2.913 | 48.868 | -2.716 | 51.132
494.349 | -2.919 | 48.836 | -2.716 | 51.164
494.549 | -2.926 | 48.775 | -2.713 | 51.225
494.75 | -2.925 | 48.731 | -2.704 | 51.269
494.95 | -2.918 | 48.741 | -2.699 | 51.259
495.15 | -2.906 | 48.816 | -2.7 | 51.184
495.351 | -2.892 | 48.896 | -2.7 | 51.104
495.551 | -2.879 | 48.951 | -2.697 | 51.049
495.751 | -2.875 | 48.96 | -2.694 | 51.04
495.952 | -2.879 | 48.927 | -2.693 | 51.073
496.152 | -2.874 | 48.929 | -2.688 | 51.071
496.353 | -2.86 | 48.981 | -2.683 | 51.019
496.553 | -2.856 | 49.026 | -2.687 | 50.974
496.754 | -2.863 | 49.057 | -2.699 | 50.943
496.954 | -2.862 | 49.109 | -2.707 | 50.891
497.154 | -2.85 | 49.187 | -2.709 | 50.813
497.355 | -2.84 | 49.27 | -2.713 | 50.73
497.555 | -2.832 | 49.345 | -2.719 | 50.655
497.756 | -2.825 | 49.38 | -2.717 | 50.62
497.956 | -2.817 | 49.381 | -2.71 | 50.619
498.156 | -2.812 | 49.376 | -2.703 | 50.624
498.357 | -2.809 | 49.368 | -2.699 | 50.632
498.557 | -2.81 | 49.344 | -2.696 | 50.656
498.758 | -2.812 | 49.331 | -2.695 | 50.669
498.958 | -2.805 | 49.417 | -2.703 | 50.583
499.158 | -2.792 | 49.548 | -2.713 | 50.452
499.359 | -2.781 | 49.567 | -2.705 | 50.433
499.559 | -2.774 | 49.508 | -2.688 | 50.492
499.76 | -2.78 | 49.447 | -2.684 | 50.553
499.96 | -2.79 | 49.415 | -2.688 | 50.585
500.16 | -2.785 | 49.478 | -2.694 | 50.522
500.361 | -2.772 | 49.591 | -2.701 | 50.409
500.561 | -2.764 | 49.7 | -2.712 | 50.3
500.762 | -2.761 | 49.785 | -2.723 | 50.215
500.962 | -2.762 | 49.785 | -2.724 | 50.215
501.162 | -2.762 | 49.767 | -2.721 | 50.233
501.363 | -2.749 | 49.843 | -2.722 | 50.157
501.563 | -2.736 | 49.949 | -2.727 | 50.051
501.764 | -2.742 | 49.994 | -2.741 | 50.006
501.964 | -2.755 | 49.998 | -2.755 | 50.002
502.164 | -2.765 | 49.918 | -2.751 | 50.082
502.365 | -2.772 | 49.838 | -2.743 | 50.162
502.565 | -2.765 | 49.896 | -2.747 | 50.104
502.766 | -2.756 | 49.988 | -2.754 | 50.012
502.966 | -2.759 | 50.027 | -2.763 | 49.973
503.166 | -2.763 | 50.05 | -2.772 | 49.95
503.367 | -2.763 | 50.07 | -2.775 | 49.93
503.567 | -2.761 | 50.117 | -2.781 | 49.883
503.768 | -2.756 | 50.303 | -2.809 | 49.697
503.968 | -2.753 | 50.478 | -2.836 | 49.522
504.168 | -2.76 | 50.447 | -2.838 | 49.553
504.369 | -2.766 | 50.39 | -2.833 | 49.61
504.569 | -2.756 | 50.392 | -2.825 | 49.608
504.77 | -2.748 | 50.406 | -2.819 | 49.594
504.97 | -2.757 | 50.428 | -2.831 | 49.572
505.17 | -2.765 | 50.49 | -2.85 | 49.51
505.371 | -2.762 | 50.693 | -2.883 | 49.307
505.571 | -2.759 | 50.871 | -2.91 | 49.129
505.772 | -2.762 | 50.877 | -2.914 | 49.123
505.972 | -2.768 | 50.865 | -2.918 | 49.135
506.172 | -2.781 | 50.885 | -2.935 | 49.115
506.373 | -2.795 | 50.906 | -2.953 | 49.094
506.573 | -2.808 | 50.924 | -2.968 | 49.076
506.774 | -2.816 | 50.967 | -2.984 | 49.033
506.974 | -2.812 | 51.078 | -3 | 48.922
507.174 | -2.806 | 51.191 | -3.013 | 48.809
507.375 | -2.796 | 51.282 | -3.018 | 48.718
507.575 | -2.793 | 51.358 | -3.029 | 48.642
507.776 | -2.806 | 51.408 | -3.05 | 48.592
507.976 | -2.819 | 51.453 | -3.071 | 48.547
508.176 | -2.828 | 51.497 | -3.088 | 48.503
508.377 | -2.833 | 51.533 | -3.1 | 48.467
508.577 | -2.835 | 51.555 | -3.105 | 48.445
508.778 | -2.838 | 51.572 | -3.111 | 48.428
508.978 | -2.843 | 51.585 | -3.119 | 48.415
509.178 | -2.846 | 51.636 | -3.131 | 48.364
509.379 | -2.847 | 51.741 | -3.149 | 48.259
509.579 | -2.851 | 51.819 | -3.167 | 48.181
509.78 | -2.861 | 51.852 | -3.183 | 48.148
509.98 | -2.868 | 51.913 | -3.2 | 48.087
510.18 | -2.869 | 52.009 | -3.218 | 47.991
510.381 | -2.875 | 52.063 | -3.233 | 47.937
510.581 | -2.887 | 52.063 | -3.245 | 47.937
510.782 | -2.9 | 52.058 | -3.257 | 47.942
510.982 | -2.912 | 52.06 | -3.27 | 47.94
511.182 | -2.912 | 52.142 | -3.284 | 47.858
511.383 | -2.9 | 52.298 | -3.3 | 47.702
511.583 | -2.895 | 52.419 | -3.316 | 47.581
511.784 | -2.896 | 52.504 | -3.332 | 47.496
511.984 | -2.895 | 52.57 | -3.342 | 47.43
512.184 | -2.893 | 52.621 | -3.348 | 47.379
512.385 | -2.894 | 52.659 | -3.356 | 47.341
512.585 | -2.898 | 52.688 | -3.365 | 47.312
512.786 | -2.903 | 52.733 | -3.379 | 47.267
512.986 | -2.909 | 52.788 | -3.394 | 47.212
513.186 | -2.911 | 52.826 | -3.402 | 47.174
513.387 | -2.909 | 52.857 | -3.406 | 47.143
513.587 | -2.91 | 52.924 | -3.419 | 47.076
513.788 | -2.913 | 53.01 | -3.436 | 46.99
513.988 | -2.912 | 53.087 | -3.449 | 46.913
514.188 | -2.909 | 53.16 | -3.459 | 46.84
514.389 | -2.91 | 53.211 | -3.469 | 46.789
514.589 | -2.913 | 53.253 | -3.479 | 46.747
514.79 | -2.919 | 53.293 | -3.492 | 46.707
514.99 | -2.926 | 53.332 | -3.506 | 46.668
515.19 | -2.924 | 53.374 | -3.511 | 46.626
515.391 | -2.919 | 53.418 | -3.514 | 46.582
515.591 | -2.914 | 53.482 | -3.52 | 46.518
515.792 | -2.909 | 53.549 | -3.526 | 46.451
515.992 | -2.906 | 53.572 | -3.527 | 46.428
516.192 | -2.902 | 53.586 | -3.527 | 46.414
516.393 | -2.894 | 53.654 | -3.53 | 46.346
516.593 | -2.885 | 53.733 | -3.535 | 46.267
516.794 | -2.878 | 53.841 | -3.547 | 46.159
516.994 | -2.871 | 53.951 | -3.559 | 46.049
517.194 | -2.87 | 54.001 | -3.566 | 45.999
517.395 | -2.869 | 54.043 | -3.572 | 45.957
517.595 | -2.871 | 54.077 | -3.581 | 45.923
517.796 | -2.874 | 54.111 | -3.59 | 45.889
517.996 | -2.87 | 54.172 | -3.597 | 45.828
518.196 | -2.867 | 54.233 | -3.604 | 45.767
518.397 | -2.861 | 54.294 | -3.609 | 45.706
518.597 | -2.856 | 54.355 | -3.614 | 45.645
518.798 | -2.854 | 54.42 | -3.624 | 45.58
518.998 | -2.852 | 54.483 | -3.633 | 45.517
519.198 | -2.848 | 54.519 | -3.635 | 45.481
519.399 | -2.844 | 54.551 | -3.637 | 45.449
519.599 | -2.842 | 54.555 | -3.636 | 45.445
519.8 | -2.84 | 54.571 | -3.636 | 45.429
520 | -2.832 | 54.669 | -3.646 | 45.331